## Sheet1
| VARIABLE | TYPE | LENGTH | RANGE | SAMPLE | Notes
General | SubjectID | TEXT |  |  |  | AAXXXX this will be derived from the RapID eartag distributed by the CC
| Site | TEXT
| Person obtaining the scan? | TEXT
| Scan date | DATE
| Stroke age | NUMBER |  |  |  | 2 day vs. 30 day
| Anesthesia | TEXT |  |  |  | linked to site
| Temperature monitor? | TEXT |  |  |  | linked to site
| Respiratory rate monitor? | TEXT |  |  |  | linked to site
| Pulse oximetry? | TEXT |  |  |  | linked to site
Acquisition time | Setup time | NUMBER
| TE mapping time | NUMBER |  |  |  | time elapsed from one data file to another data file, files will have a time stamp
| ADC mapping time | NUMBER |  |  |  | time elapsed from one data file to another data file
Scanner | Manufacturer | TEXT |  |  | Bruker BioSpin MRI GmbH
| Mfg_Mode | TEXT
| Magnetic_Field_Strength (Mghz) | NUMBER |  |  | 11.7388
| Coil type | TEXT
MRI parameters | Acquisition_Plane | TEXT |  |  | AXIAL
| Series Description | TEXT |  |  | T2map
| image_data_id | NUMBER |  |  | 1264676
| Acquisition_Type | TEXT |  |  | 2D
| Weighting | TEXT |  |  | PD
| Pulse_Sequence | TEXT |  |  | RM
| FOV_X | NUMBER
| FOV_Y | NUMBER
| FOV_Z | NUMBER
| Matrix_X | NUMBER |  |  | 85
| Matrix_Y | NUMBER |  |  | 85
| Matrix_Z | NUMBER |  |  | 12
| Pixel_Spacing_X | NUMBER |  |  | 0.2
| Pixel_Spacing_Y | NUMBER |  |  | 0.2
| Slice_Thickness | NUMBER |  |  | 0.7
| # slices | NUMBER
| Resolution | NUMBER
| TE | NUMBER |  |  | 100
| TR | NUMBER |  |  | 3000
| TI | NUMBER |  |  | 0
| Flip_Angle | NUMBER |  |  | 90
| BW | NUMBER
| T2 mapping SE vs ME | TEXT
| T2 echotimes | TEXT
| ADC mapping b values | TEXT
Upload | date_added | DATE |  |  | 0:29
| Person uploading the scan? | TEXT
Automated segmentation and readouts | Person performing the analysis? | TEXT
| Method version | TEXT
| Ipsilesional hemisphere volume | NUMBER
| Contralesional hemisphere volume | NUMBER
| Ventricular (CSF) volume | NUMBER
| T2 lesion volume | NUMBER
| Average T2 inside the lesion | NUMBER
| Standard Dev of T2 inside the lesion | NUMBER
| ADC lesion volume | NUMBER
| Average ADC inside the lesion | NUMBER
| Standard Dev of ADC inside the lesion | NUMBER
| SNR | NUMBER
| CNR | NUMBER
| bias field correction | Number
| Segmentation confidence | NUMBER
Additional readouts | Hemorrhage? | TEXT
| Midline shift | NUMBER